## Slide 1
DIPARTIMENTO DI MECCANICA
Department of Mechanical Engineering
Python-aided structural performance-based design optimisation of a secondary mirror for a Concentrated Solar Power (CSP) plant
Lucio Pinello July 10, 2023

## Slide 2
Python-aided structural performance-based design optimisation of a secondary mirror for a Concentrated Solar Power (CSP) plant
Concentrating Solar Power (CSP) systems
  Solar Power Tower (SPT) plant
    Beam-down technology
      Secondary mirror optimisation
Framework:

## Slide 3
Python-aided structural performance-based design optimisation of a secondary mirror for a Concentrated Solar Power (CSP) plant
Abaqus model:
 | #C | C thickness [mm] | C semi-height [mm] | Plate thickness [mm]
min | 6 | 1 | 40 | 1
max | 9 | 5 | 100 | 5
step | 1 | 1 | 10 | 1
700 combinations
Plate dimensions: 800x800 mm
Bracket width: 50 mm
Load cases
Temperature: 200°C
Weight
Wind: 13 km/h

## Slide 4
Python-aided structural performance-based design optimisation of a secondary mirror for a Concentrated Solar Power (CSP) plant
Python-Abaqus code:
 | #C | C thickness [mm] | C semi-height [mm] | Plate thickness [mm]
min | 6 | 1 | 40 | 1
max | 9 | 5 | 100 | 5
step | 1 | 1 | 10 | 1

## Slide 5
Python-aided structural performance-based design optimisation of a secondary mirror for a Concentrated Solar Power (CSP) plant
Python-Abaqus code:
 | #C | C thickness [mm] | C semi-height [mm] | Plate thickness [mm]
min | 6 | 1 | 40 | 1
max | 9 | 5 | 100 | 5
step | 1 | 1 | 10 | 1

## Slide 6
Python-aided structural performance-based design optimisation of a secondary mirror for a Concentrated Solar Power (CSP) plant
Python-Abaqus code:
 | #C | C thickness [mm] | C semi-height [mm] | Plate thickness [mm]
min | 6 | 1 | 40 | 1
max | 9 | 5 | 100 | 5
step | 1 | 1 | 10 | 1

## Slide 7
Python-aided structural performance-based design optimisation of a secondary mirror for a Concentrated Solar Power (CSP) plant
Python-Abaqus code:

## Slide 8
Python-aided structural performance-based design optimisation of a secondary mirror for a Concentrated Solar Power (CSP) plant
Python post-processing code:
Design constraints
Plate slope deviation < 1 mrad
Additional constraint
Maximum stress: 85 MPa
Safety coefficients from Eurocode 3
Weight: 1.4
Wind: 1.5
Selection algorithm
Sum maximum stresses for each component
Evaluate plate slope deviation
Check for each configuration if
  If a) and b) are verified the configuration is approved by the algorithm
  If at least one of a) and b) are not satisfied then the configuration is rejected

## Slide 9
Python-aided structural performance-based design optimisation of a secondary mirror for a Concentrated Solar Power (CSP) plant
Python post-processing code:
Loading configuration load case results
Stress intensification with safety coefficients
Sum stress state from the load cases
Check constraint
VM is the intensified stress state array
stress collects the maxim stress for the kk-th configuration for all the jj-th load cases
stress-collected collects the stress vector, storing the maximum stress for all the configurations and for all the load cases
stress-max collects the sum of the maximum stress of the load cases for the kk-th configuration

## Slide 10
Python-aided structural performance-based design optimisation of a secondary mirror for a Concentrated Solar Power (CSP) plant
Python post-processing code:

## Slide 11
Python-aided structural performance-based design optimisation of a secondary mirror for a Concentrated Solar Power (CSP) plant
Python post-processing code:

## Slide 12
Lucio Pinello
lucio.pinello@polimi.it